Annual Drinking Water

Consumer Confidence Quality Report 2013

Leeds Domestic Water users Association (LDWA)

We're pleased to present the Annual Drinking Water Quality Report for 2013. This report is designed to provide information about the quality of the water and services you receive daily from LDWA. Our goal is to provide you with a safe and dependable supply of drinking water. This information provides the data collected through ongoing efforts to improve the water treatment process and protect our water resources.  We are committed to ensuring the quality and safety of our culinary drinking water.  Our water sources are from the groundwater sources of two wells and a single spring.

The Drinking Water Source Protection Plan for Leeds Domestic Water users Association is available for your review and is posted on our website at www.LDWAutah.org.  It contains information about source protection zones, potential contamination sources and management strategies to protect our drinking water.  Our sources are located in remote and protected areas and have a low level of susceptibility to potential contamination sources.  We have also developed management strategies to further protect our sources from contamination.  Please contact us if you have questions or concerns about our source protection plan.

Shareholder information regarding Cross Connections and Water Contamination Prevention.

There are hundreds of connections within our water distribution system.  When connections are properly installed and maintained, the concerns are very minimal.  However, unapproved and improper piping changes or connections can adversely affect not only the availability, but also the quality of the water.  A cross connection may let polluted water or even chemicals mingle into the water supply system when not properly protected.  This not only compromises the water quality but can also affect your health.  What you can do:  Do not make or allow improper connections at your homes.  Even that unprotected garden hose lying in the puddle next to the driveway is a cross connection.  The unprotected lawn sprinkler system after you have fertilized or sprayed is a cross connection.  When the cross connection is allowed to exist at your home, it will affect you and your family first.

If you’d like to learn more about helping to protect the quality of our water, call us for further information about ways you can help. In the fall of this year LDWA will hold another presentation on Cross Connections hosted by Rural Water Assoc of Utah.  Attendance is free and we encourage you to attend.  Watch for the notices as will be posted at the Post Office and on our website.

Quality Requirements.

We are pleased to report that our drinking water meets &/or exceeds federal and state requirements.  This report shows our water quality and what it means to shareholders.

If you have any questions about this report or concerning your water utility, please contact LDWA Field Operations Manager Mark Osmer at 435-879-0278.  You are encouraged to learn more about your drinking water system - explore the information and links posted on www.LDWAutah.org, and if you have a specific question or concern please email LDWA at LDWAcorp@infowest.com.

LDWA routinely monitors for constituents in our drinking water in accordance with the Federal and Utah State laws.  The following table shows the results of our monitoring for the period of January 1st to December 31st, 2013.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents.  It's important to remember that the presence of these constituents does not necessarily pose a health risk.

In the following table you will find many terms and abbreviations you might not be familiar with.  To help you better understand these terms we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

ND/Low - High - For water systems that have multiple sources of water, the Utah Division of Drinking Water has given water systems the option of listing the test results of the constituents in one table, instead of multiple tables. To accomplish this, the lowest and highest values detected in the multiple sources are recorded in the same space in the report table.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter (ug/l) - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per trillion (ppt) or Nanograms per liter (nanograms/l) - one part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

Parts per quadrillion (ppq) or Picograms per liter (picograms/l) - one part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Millirems per year (mrem/yr) - measure of radiation absorbed by the body.

Million Fibers per Liter (MFL) - million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Action Level (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level (MCL) - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Date- Because of required sampling time frames i.e. yearly, 3 years, 4 years and 6 years, sampling dates may seem out-dated.

Waivers (W)- Because some chemicals are not used or stored in areas around drinking water sources, some water systems have been given waivers that exempt them from having to take certain chemical samples, these waivers are also tied to Drinking Water Source Protection Plans.

| TEST RESULTS |
| --- |
| Contaminant | Violation Y/N | Level Detected ND/Low-High | Unit Measurement | MCLG | MCL | Date Sampled | Likely Source of Contamination |
| Microbiological Contaminants |
| Turbidity for Ground Water | N | 6 | NTU | N/A | 5 | 2013 | Soil runoff |
| Inorganic Contaminants |
| Barium | N | 71 | ppb | 2000 | 2000 | 2012 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Copper 90% results # of sites that exceed the AL | N | a..251 b.0 | ppb | 1300 | AL=1300 |  | Corrosion of household plumbing systems; erosion of natural deposits |
| Lead 90% results # of sites that exceed the AL | N | a. 3 b.0 | ppb | 0 | AL=15 |  | Corrosion of household plumbing systems, erosion of natural deposits |
| Sodium | N | 23 | ppm | None set by EPA | None set by EPA |  | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills. |
| Sulfate | N | 320 | ppm | 1000 | 1000 |  | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills, runoff from cropland |
| If the sulfate level of a public water system is greater than 500 ppm, the supplier must satisfactorily demonstrate that: a) no better water is available, and b) the water shall not be available for human consumption from commercial establishments. In no case shall water having a level above 1000 ppm be used. |
| TDS (Total Dissolved solids) | N | 820 | ppm | 2000 | 2000 |  | Erosion of natural deposits |
| If TDS is greater than 1000 ppm the supplier shall deomonstrate to the Utah Drinking Water Board that no better water is available. The Board shall not allow the use of an inferior source of water if a better source is available. |
| Disinfection By-products |
| TTHM [Total trihalomethanes] | N | ND | ppb | 0 | 80 |  | By-product of drinking water disinfection |
| Haloacetic Acids | N | ND | ppb | 0 | 60 |  | By-product of drinking water disinfection |
| Chlorine | N | ND | ppm | 4 | 4 |  | Water additive used to control microbes |
| Radioactive Contaminants |
| Combined | N | 3 | pCi/1 | 0 | 5 |  | Erosion of natural deposits |
| Radium 228 | N | 1 | pCi/1 | 0 | 5 |  | Erosion of natural deposits |

Microbiological Contaminants:

Total Coliform. Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.

Fecal coliform/E.Coli. Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

Turbidity. Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

Radioactive Contaminants:

Alpha emitters. Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer.

Beta emitters. Certain minerals are radioactive and may emit a form of radiation known as beta radiation. Some people who drink water containing beta emitters in excess of the MCL over many years may have an increased risk of getting cancer.

Combined Radium 226/228. Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer.

Inorganic Contaminants:

Antimony. Some people who drink water containing antimony well in excess of the MCL over many years could experience increases in blood cholesterol and decreases in blood sugar.

Arsenic. Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer.

Asbestos. Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

Barium. Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure.

Beryllium. Some people who drink water containing beryllium well in excess of the MCL over many years could develop intestinal lesions.

Cadmium. Some people who drink water containing cadmium in excess of the MCL over many years could experience kidney damage.

Carbon, Total Organic (TOC). Carbon, Total Organic (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection by products. These byproducts include trihalomethanes (THMs) and haloacetic acids (HAAs). Drinking water containing these byproducts in excess of the MCL may lead to adverse health effects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer.

Chromium. Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis.

Copper. Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage.  People with Wilson's disease should consult their personal doctor.

Cyanide. Some people who drink water containing cyanide well in excess of the MCL over many years could experience nerve damage or problems with their thyroid.

Fluoride. Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Children may get mottled teeth.

Lead. Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. LDWA is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Mercury (inorganic). Some people who drink water containing inorganic mercury well in excess of the MCL over many years could experience kidney damage.

Nitrate. Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

Nitrite. Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

Selenium. Selenium is an essential nutrient. However, some people who drink water containing selenium in excess of the MCL over many years could experience hair or fingernail losses, numbness in fingers or toes, or problems with their circulation.

Sodium. Sodium is an essential nutrient. However, some people who drink water containing sodium in excess of the MCL may experience health problems.

Sulfate. High levels of sulfates in the drinking water may cause some people to have stomach problems.

TDS (Total Dissolved Solids). TDS is an aesthetic water quality problem, however high levels may cause some people to experience health problems.

As you can see by the table above, our system had no violations.  We’re proud that your drinking water meets or exceeds all Federal and State requirements.  We have learned through our monitoring and testing that some constituents have been detected and the EPA has determined that our drinking water IS SAFE at these levels.

All sources of drinking water are subject to potential contamination by constituents that are naturally occurring or man made.  Those constituents can be microbes, organic or inorganic chemicals, or radioactive materials.  All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

MCLs are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care providers about drinking water. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

We at Leeds Domestic Water users Association work around the clock to provide top quality water to every tap.  We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future.

Leeds Domestic Water users Association

PO Box 460627

Leeds, Utah 84746

February 26, 2014

Patti Fauver

Consumer Confidence Compliance Quality Report

Division of Drinking Water

P.O. Box 144830

Salt Lake City, Utah 84114-4830

Dear Ms. Fauver:

Subject:   Consumer Confidence Report for Leeds Domestic Water UTAH27010

Enclosed is a copy of  Leeds Domestic Water Consumer Confidence Report.  It contains the water quality information for our water system for the calendar year 2013 or the most recent sample data.

We have delivered this report to our customers by:  posting notice on the LDWA website www.LDWAutah.org.

If you have any questions, please contact me at 435-879-0278.

Sincerely,

Mark Osmer

Leeds Domestic Water users Association