Annual Drinking Water Quality Report 2016

Leeds Domestic Water users Association (LDWA)

This report is designed to inform you about the quality of the water and services we deliver every day.  Our ongoing goal is to provide a safe, dependable supply of drinking water, continually improve the water treatment process, and protect our water resources.

LDWA sources are from one well and one spring.  As of December 31, 2016, LDWA served 358 active water connections within its water distribution system.

The Drinking Water Source Protection Plan for LDWA is available for your review and posted at www.LDWAutah.org.  It contains information about source protection zones, potential contamination sources, management strategies to protect our drinking water, and have been determined to have a low level of susceptibility from potential contamination.

It is vital to understand that all connections to LDWA culinary water sources must be properly protected in and around your home.  Residents and property are responsible for the installation of approved backflow devices to prevent cross connection backflow contamination drinking water at home.  Unapproved and/or improper piping changes or connections can adversely affect not only the availability, but also the quality of your water at your home.

A cross connection can result with polluted water or chemicals that will mingle into your water supply system when not properly protected.  This not only compromises the water quality but can also affect your health.

WHAT YOU CAN DO.  Do not make or allow improper connections at your homes.  Even that unprotected garden hose lying in the puddle next to the driveway is a cross connection.  The unprotected lawn sprinkler system after you have fertilized or sprayed is also a cross connection.

When the cross connection is allowed to exist at your home, it will affect you and your family first.  We urge you to learn more about protecting your family and pets by protecting the quality of our water.  Please visit http://www.ldwautah.org/CROSS_CONNECTIONS.html.

***

LDWA routinely monitors for constituents in our drinking water in accordance with the Federal and Utah State laws. The following table shows the results for the period of January 1st to December 31st, 2016.

It’s wise to note that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents, and it is equally wise to know that presence of these constituents does not necessarily pose a health risk.

Definitions of terms and abbreviations used in the following LDWA Test Report Table:

(AL) Action Level.  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

(MCL) Maximum Contaminant Level.  The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

(MCLG), Maximum Contaminant Level Goal.  The “Goal”(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

(mg/l), milligrams per liter. One part per million corresponds to one minute in two years or a single penny in $10,000.

(ND), Non-Detects.  Laboratory analysis indicates that the constituent is not present.

ND/Low – High.  For water systems that have multiple sources of water, the Utah Division of Drinking Water has given water systems the option of listing the test results of the constituents in one table, instead of multiple tables. To accomplish this, the lowest and highest values detected in the multiple sources are recorded in the same space in the report table.

(NUT), Nephelometric Turbidity Unit.  Nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

(nanograms/l), nanograms per liter.  One part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

(ppb), parts per billion.  One part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

(ppm), parts per million.  One part per million corresponds to one minute in two years or a single penny in $10,000.

(ppq), parts per quadrillion. One part per quadrillion corresponds to one minute in 2,000,000,000 years or a single penny in $10,000,000,000,000.

(ppt), parts per trillion. One part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

(ug/l), micrograms per liter.  One part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000

(picograms/l), picograms per liter.  One part per quadrillion corresponds to one minute in 2,000,000,000 years or a single penny in $10,000,000,000,000.

(pCi/L), Picocuries per liter. Picocuries per liter is a measure of the radioactivity in water.

(TT), Treatment Technique.  A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

**DATE:  depending on the element sampled and prior test results, sampling time frames range once each year to once every six (6) years.

| LDWA CULINARY WATER TEST RESULTS |
| --- |
| Contaminant | Violation YES NO | Level Detected ND/Low-High | Unit Measurement | MCLG | MCL MAXIMUM ALLOWED | Date Sampled | Source of Contamination ONLY IF TEST IS YES |
| Microbiological Contaminants |
| Total Coliform Bacteria | NO | NOT DETECTED | N/A | 0 | Presence of coliform bacteria in 5% of monthly samples | 2016 | If existent: Naturally present in the environment |
| Turbidity for Ground Water | NO | 0.05 - 0.55 | NTU | N/A | 5.00 | 2011 | Soil runoff |
| Inorganic Contaminants |
| Arsenic | NO | 1,400-2,900 | ppb | 0 | 10,000 | 2011 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Barium | NO | 10 - 71 | ppb | 2,000 | 2,000 | 2011 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Copper a. 90% results b. # of sites exceeding AL | NO | A. 342 B. NONE | ppb | 1,300 | AL = 1,300 | 2016 | Corrosion of household plumbing systems; erosion of natural deposits |
| Fluoride SOURCE #1 SOURCE #2 | NO | NOT DETECTED 300 | ppb | 4,000 | 4,000 | 2011 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Nitrate (as Nitrogen) | NO | ND-1 | ppm | 10 | 10 | 2016 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Lead 90% results # of sites that exceed the AL | NO | a. 14 b.1 | ppb | 0 | AL=15 | 2016 | Corrosion of household plumbing systems, erosion of natural deposits |
| Selenium | NO | ND - 2,300 | ppt | 50,000 | 50,000 | 2011 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| Sodium | NO | 4,600 -12,600 | ppm | None set by EPA | None set by EPA | 2011 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills. |
| Sulfate | NO | 4 - 57 | ppm | 1,000 | 1,000 | 2011 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills, runoff from cropland |
| TDS (Total Dissolved solids) | NO | 161-321 | ppm | 2,000 | 2,000 | 2011 | Erosion of natural deposits |
| Radioactive Contaminants |
| Alpha emitters | NO | 1 - 2 | pCi/l | 0 | 15 | 2016 | Erosion of natural deposits |
| Radium 228 | NO | 1 | pCi/1 | 0 | 5 | 2016 | Erosion of natural deposits |

As you can see by the table, LDWA’s system had no violations and our drinking water exceeds Federal and State requirements.  The constituents detected are well under the EPA safe drinking water limits.

Importantly, all sources of drinking water are subject to potential contamination by constituents that are naturally occurring or manmade.  Just because a constituent is identified as “naturally occurring”, does not mean it is safe!  “Naturally occurring” constituents can be radioactive materials, microbes, organic and inorganic chemicals.

More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

MCLs are set at very stringent levels.  To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Leeds Domestic Water is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care providers about drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

LDWA staff and volunteers work around the clock to provide safe, quality drinking water to every tap.  We ask that all our shareholders help protect our water sources, which are the heart of our community, our way of life and our children’s future.

If you have any questions about this report or concerning your water utility, please contact LDWA at LDWacorp@infowest.com or visit our website at www.LDWAutah.org.