**SECTION 409 DISHWASHING MACHINES

409.1 Approval.**
Commercial dishwashing machines shall conform to ASSE 1004 and NSF 3.  **409.2 Water connection.**
The water supply to a dishwashing machine shall be protected against backflow by an *air gap* or backflow preventer in accordance with Section 608.  **409.3 Waste connection.**
The waste connection of a dishwashing machine shall comply with Section 802.1.6 or 802.1.7, as applicable.