**SECTION 409 DISHWASHING MACHINES   
  
409.1 Approval.**   
Commercial dishwashing machines shall conform to ASSE 1004 and NSF 3.  **409.2 Water connection.**   
The water supply to a dishwashing machine shall be protected against backflow by an *air gap* or backflow preventer in accordance with [Section 608](javascript:Next('./icod_ipc_2012_6_par130.htm');).  **409.3 Waste connection.**   
The waste connection of a dishwashing machine shall comply with [Section 802.1.6](javascript:Next('./icod_ipc_2012_8_par009.htm');) or [802.1.7](javascript:Next('./icod_ipc_2012_8_par010.htm');), as applicable.