**SECTION 411 EMERGENCY SHOWERS AND EYEWASH STATIONS

411.1 Approval.**
Emergency showers and eyewash stations shall conform to ISEA Z358.1.  **411.2 Waste connection.**
Waste connections shall not be required for emergency showers and eyewash stations.