**SECTION 423 SPECIALTY PLUMBING FIXTURES   
  
423.1 Water connections.**   
Baptisteries, ornamental and lily pools, aquariums, ornamental fountain basins, swimming pools, and similar constructions, where provided with water supplies, shall be protected against backflow in accordance with [Section 608](javascript:Next('./icod_ipc_2012_6_par130.htm');).  **423.2 Approval.**   
Specialties requiring water and waste connections shall be submitted for approval.