**SECTION 423 SPECIALTY PLUMBING FIXTURES

423.1 Water connections.**
Baptisteries, ornamental and lily pools, aquariums, ornamental fountain basins, swimming pools, and similar constructions, where provided with water supplies, shall be protected against backflow in accordance with Section 608.  **423.2 Approval.**
Specialties requiring water and waste connections shall be submitted for approval.