**SECTION 427 FLOOR SINKS

427.1 Approval.**
Sanitary floor sinks shall conform to the requirements of ASME A112.6.7.