**SECTION 427 FLOOR SINKS   
  
427.1 Approval.**   
Sanitary floor sinks shall conform to the requirements of ASME A112.6.7.